## Hardware
Name | Asset ID | Device Type | Function | Network interface(s) | Network interface(s) | Network address(es) | Network address(es) | Manufacturer | Model | Serial Number | Operating system and version (if applicable) |  | Firmware versions (if applicable) | Responsible organization/individual | Physical Location | Notes
Dell Server | BPCS-SRV01 | Server | WSUS | HPE-530SFP |  | 192.168.120.10 |  | Dell | Power Edge T330 | 876876GH-33-A | Windows Server 2000 | SP4 |  | IT | HQ-MER-02
Dell Server | BPCS-SRV02 | Server | Historian | HPE-530SFP |  | 192.168.120.11 |  | Dell | Power Edge T330 | 8768712GH-24-G | Windows Server 2012 | R2 |  | IT | HQ-MER-02
Dell Server | BPCS-SRV03 | Server | FTP-Server | HPE-530SFP |  | 192.168.120.12 |  | Dell | Power Edge T330 | 876876GH-33-A | Ubuntu | 2.20.9 |  | IT | HQ-MER-02
Dell Server | BPCS-SRV04 | Server | IIS | HPE-530SFP | HPE-530SFP | 192.168.10.10 | 192.168.20.10 | Dell | Power Edge T330 | 8768712GH-24-G | Windows Server 2000 | SP4 |  | OT | PF-MER-01 | No Internet Connection
Dell Server | BPCS-SRV05 | Server | Wonderware | HPE-530SFP | HPE-530SFP | 192.168.10.11 | 192.168.20.11 | Dell | Power Edge T330 | 876876GH-33-A | Windows Server 2000 | SP4 |  | OT | PF-MER-01
Dell Server | BPCS-SRV06 | Server | Historian | HPE-530SFP | HPE-530SFP | 192.168.10.12 | 192.168.20.12 | Dell | Power Edge T330 | 8768712GH-24-G | Windows Server 2000 | SP4 |  | OT | PF-MER-01
Dell Server | BPCS-SRV07 | Server | Batch Server | HPE-530SFP | HPE-530SFP | 192.168.10.13 | 192.168.20.13 | Dell | Power Edge T330 | 876876GH-33-A | Windows Server 2000 | SP4 |  | OT | PF-MER-01
WS | BPCS-WS01 | Workstation | Operator WS | HPE-530SFP |  | 192.168.10.14 |  | OnLogic | Helix 610 |  | Windows XP | SP2 |  |  | CZ-OFF-03
WS | BPCS-WS07 | Workstation | Engineering WS | HPE-530SFP |  | 192.168.10.15 | 192.168.20.15 | OnLogic | Helix 610 |  | Windows 10 | SP1 |  |  | PF-BPZ-01
HMI | BPCS-HMI07 | HIM | HMI | HPE-530SFP |  | 192.168.10.16 |  | Siemens | KPT700 |  | ?? |  |  |  | PF-BPZ-01
Firewall | OFF-FWL-002 | Firewall |  |  |  | 192.168.120.250 | 192.168.10.250 | Phoenix Contact | Mguard RS4000 |  |  |  | Firmware 7.2.0 |  | HQ-MER-02
Switch | BPCS-SWI | Switch |  |  |  | 192.168.10.251 |  | Phoenix Contact | Switch 2000 |  |  |  | Firmware 5.2 |  | PF-MER-02
Switch | BPCS-SWI | Switch |  |  |  | 192.168.20.251 |  | Phoenix Contact | Switch 2000 |  |  |  | Firmware 5.2 |  | PF-MER-02
PLC | BPCS-CNT-01 | PLC | SIS PLC | YES |  | 192.168.20.20 |  | Siemens | S7-1200 |  |  |  | firmware 2.2 |  | PF-SIS-01
PLC | BPCS-CNT-02 | PLC | BPCS-PLC | YES |  | 192.168.20.30 |  | ABB | AC 500 |  |  |  | ?? |  | PF-BPZ-01
Modem | BPCS-MOD-01 | Modem |  | YES |  | 192.168.20.254 |  | Sierra | RV55LTE |  |  |  | ?? |  | PF-MER-01
IDS | BPCS-IDS-01 | NIDS | IDS | RPBI023 |  | 192.168.10.252 |  | Raspberry PI | !A |  | Raspbian | ??

## Software
Software Name | Software type | Function | Host Name | Host type | Vendor | Version | Responsible | License information | # of Licenses | Location of License | License Expiration Date | Update/Patch Process
Windows Server 2000 | OS | Server | BPCS-SRV01 | Phisical | Microsoft | SP4 | IT |  | 1 | IT-Safe | na
Windows Server 2012 | OS | Server | BPCS-SRV02 | Phisical | Microsoft | R2 | IT |  | 1 | IT-Safe | na
Ubuntu | OS | File Transfer server | BPCS-SRV03 | Phisical |  | 2.20.9 | IT |  |  |  | na
Windows XP SP2 | OS | Operator WS | BPCS-WS01 | Phisical | Microsoft | SP2 | OT |  | 1 | IT-Safe | na
Raspbian | OS | NIDS | BPCS-IDS-01 | Phisical |  | ?? | OT |  |  |  | na
Windows 10 | OS | HMI | BPCS-HMI07 | Phisical | Microsoft | SP1 | OT |  | 1 | IT-Safe | na
Windows 10 | OS | EWS | BPCS-WS07 | Phisical | Microsoft | SP1 | OT |  | 1 | IT-Safe | na
Windows 2000 | OS | Server | BPCS-SRV04 | Phisical | Microsoft | SP4 | OT |  | 1 | IT-Safe | na
Windows 2000 | OS | Server | BPCS-SRV05 | Phisical | Microsoft | SP4 | OT |  | 1 | IT-Safe | na
Windows 2000 | OS | Historian | BPCS-SRV06 | Phisical | Microsoft | SP4 | OT |  | 1 | IT-Safe | na
Windows 2000 | OS | Batch Server | BPCS-SRV07 | Phisical | Microsoft | SP4 | OT |  | 1 | IT-Safe | na
IIS server | Webserver | Server | BPCS-SRV04 | Phisical | Microsoft | 5.0 | OT |  | 1 | IT-Safe | na
AVEVA Historian 2017 | Application | Historian | BPCS-SRV02 | Phisical | Aveva | 2017 | OT |  | 1 | IT-Safe | na
Filezilla | Application | File Transfer | BPCS-SRV03 | Phisical | Filezilla | 2.5.4 | OT |  |  |  | na
Aveva Wonderware Intouch 2017 | Application | Batch Server | BPCS-SRV07 | Phisical | Aveva | 2017 | OT |  | 1 | IT-Safe | na
VTScada 8 | Application | HMI | BPCS-HMI07 | Phisical | Trihedral LTD | 8 | OT |  | 1 | IT-Safe | na
Wonderware server 2017 | Application | Server | BPCS-SRV05 | Phisical | Aveva | 2017 | OT |  | 1 | IT-Safe | na
Wonderware Historian 2017 | Application | Historian | BPCS-SRV06 | Phisical | Aveva | 2017 | OT |  | 1 | IT-Safe | na
Wonderware Inbatch 2017 | Application | Batch Server | BPCS-SRV07 | Phisical | Aveva | 2017 | OT |  | 1 | IT-Safe | na
Tia Portal V14 | Application | EWS | BPCS-WS07 | Phisical | Siemens | 14 | OT |  | 1 | IT-Safe | na
Aveva Wonderware 2017 | Application | EWS | BPCS-WS07 | Phisical | Aveva | 2017 | OT |  | 1 | IT-Safe | na
RSLogix 5000 V17 | Application | EWS | BPCS-WS07 | Phisical | Rockwell | 17 | OT |  | 1 | IT-Safe | na